CITY OF MARINA

	CITY OF MARINA
	The Submittal / Plans are:
	COPY:

	209 Cypress Avenue
	 FORMCHECKBOX 
 APPROVED
	 FORMCHECKBOX 
 Applicant(s)

	Marina, CA 93933
	 FORMCHECKBOX 
 APPROVED WITH CONDITIONS
	 FORMCHECKBOX 
 Planning Department

	Phone: (831) 884-1212
	 FORMCHECKBOX 
 NOT APPROVED – SEE COMMENTS
	 FORMCHECKBOX 
  P.W. / Engineering

	Attn.: Edrie De Los Santos 
	 FORMCHECKBOX 
 OTHER _________________
	


DEPARTMENT OF PUBLIC WORKS

MAP CHECK and IMPROVEMENT PLAN CHECK
PROJECT NAME:
Marina Station
PROPERTY ADDRESS:
North End of Developed City Limits Both sides of Del Monte Boulevard
PROJECT DESCRIPTION:
Mixed-Use Development Consisting of Various Types of Residential Units, Retail, General Office and Industrial.

PROJECT PHASE & TYPE:
Parcel Map – financing purposes – Parcels A, B, and C
REVIEW:



PC #1
DATE:




September 4, 2024
BY:




David Rubcic, PE, PLS
NOTE:

Upon re-submittal of these documents, please include: 

1. a copy of these comments 

2. an itemized response letter to each comment below 

3. the original redlined set
4. revised documents as requested.
Failure to provide this may delay the review process. Please also note that submission of these comments does not necessarily constitute unconditional approval of any portion of the Parcel Map.
COMMENTS

The following documents were reviewed with this review. 
· Parcel Map prepared by Whitson Engineers dated July 19, 2024 
· Planning Application signed and dated 7-19-24.

· Submittal Letter from Michael Cady of Third Millennium Partners dated July 19, 2024.

· Preliminary Title Report prepared by Chicago Title Company dated July 5, 2024.

· Preliminary Title Report prepared by Chicago Title Company dated June 28, 2024.

· Reference Documents.
The following comments are the result of the initial review for this project:

PARCEL MAP
General Comments:
1. The following comments may need to be applicable on all plan sheets but may be listed on one sheet.

2. Please refer to the redline markups for additional information.

3. Update the date of the parcel map on the title on each sheet.

4. Submit the following reference documents for review:

a. Vol 7 Sur PG 102
b. Vol X-2 Sur PG 94

c. Vol 15 PM PG 19

.
SHEET 1 of 4 – Certificate Sheet 
5. A preliminary Title Report by Chicago Title Company dated June 28, 2024, shows the Trustee for Chicago Title Company, and affects Parcels 3 and 4, but a Title Report by Chicago Title Company dated July 5, 2024, does not show this trustee and the report only affects Parcel 3. Why is this trustee shown? Please verify the need for this statement. 
6. The City Clerk’s Statement shows the city accepting improvements and dedications. There are no dedications shown on the on the map. Verify if this statement is required.

7. The City Engineer’s Statement signed by Nourdin Khayata states that he is satisfied to the map’s technical correctness. Nourdin is not a surveyor and cannot state the map is technically correct. This is the City Surveyor’s responsibility.
8. Add the City Limit Line to the Vicinity Map.

SHEET 2 of 4 – Certificate Sheet

9. A Beneficiary Statement is shown on this sheet. The July 5th, 2024, Preliminary Report does not reference any of the beneficiaries shown on this sheet, under the  “EXCEPTIONS” section. However, it does reference, under the NOTES section, a transfer under document 2024022261 dated June 27, 2024, to Marina Station , LLC within the last 24 months of the date of the report. Please confirm the document number and if they are really a beneficiary and need to be signatories to the map with the Beneficiary Statement.
SHEET 3 of 4 – Boundary Map

10. Identify and show the City Limits Line with a separate and distinct line type. Continue the line westerly along Parcel 4 boundary and then where it turns north (if shows on this map). Continue the City limit line where possible on this sheet.

11. From the Title Report, identify and show Item No. 6 PG&E easement from Vol 279 page 539.

12. The Record (R1) bearing along the northerly line of Parcel 3 is incomplete. A “W” is needed at the end.

13. Two 6x6 Concrete Monument with nail monuments are found along Del Monte Boulevard. What record document were these from?

14. Will a monument be set at the northeasterly corner of the project that was established holding record bearing and distance from the concrete monument at Del Monte Boulevard.

15. What is the reference for the found ¾” IP with Plastic Plug between line segments L5 and L6?

16. The two callouts for the 30’ wide water pipe easement per Doc #2007023037 also have Doc # 2019035896 identified. Is this second document really Doc # 2010035896?

17. Will the Access ROW across the PGE property for De Forest Road and Crescent Ave. be recorded prior to, after, or simultaneously with the map?

18. Two found Brass Disks in Concrete is identified at the corners of the PG&E property identified with a reference 7-Sur-105. What documents are these tied to?
SHEET 4 of 4 – Map Sheet

19. Add the radial in and out to curve 2. S76d 11’ 44”E and S47d 25’ 06”W.

20. Add the radial in and out to curve 1. S75d 35’ 39”E and N76d 47’ 48”W.
21. Add the radial out to curve 3. N52d 47’ 11”E.

22. The calculations show that the line segment total, shown as 215.79’ with a bearing N46d 41’17”E near Del Monte Boulevard and the southwesterly corner, should be 279.60’ Caution that when adding the two segments together the total will be 279.61’. The total of the two segments must equal the total shown.
23. Add the radial of N64d 06’ 26”W to the 27.22’ long curve segment between Parcel B and Parcel C.

24. Label The bearing N67d 36’ 16”W as the radial ( R)  to the 27.22’ long curve and the 20.17’ long curve between Parcel B and parcel C.

CLOSURE CALCULATIONS

25. In the closures for the boundary:
a. Segment# 19 – the Map shows 215.79’. This is a labeling issue on the map.

b. The Area in Acres is 245.2228 Acres. The Map is showing this correct. The program should be set up to automatically output on the printer the square footage and the Acres.
26. In the Parcel A closures:

a. Add the two radials to the plan for segment# 20 curve.

b. Add the two radials to the plan for segment# 21 curve.

c. Add the beginning radial to the plan for segment# 23 curve.

d. The Area in Acres is 71.1010 Acres. 
27. In the Parcel B closures:

a. Add the ending radial to the plan for segment# 21 curve.

b. Add the two radials to the plan for segment# 23 curve.

c. Add the two radials to the plan for segment# 24 curve.

d. Add the ending radial to the plan for segment# 42 curve.

e. The area in Acres is 94.9776 Acres.

28. In the Parcel C closures:

a. Add the beginning radial to the plan for segment# 37 curve.

b. The area in Acres is 79.1140 Acres.
---- END OF COMMENTS ----
Page 1 of 6
Page 4 of 6

